## Sheet1
Secondary Pressure Drainer Type 1 Data Sheet (Page 1 of 2)
[7 empty] | PROJECT: | [12 empty] | DATA SHEET NO.:
[7 empty] | UNIT: | [12 empty] | SPEC.:
[7 empty] | P.O.: | [12 empty] | TAG:
[7 empty] | ITEM: | [12 empty] | DRAWING:
[7 empty] | CONTACT: | [12 empty] | SERVICE:
[7 empty] | MFR. SERIAL: | [12 empty] | DATE:
Process and Performance Data
Fluid:
Normal Capacity: | [5 empty] | PPH |  |  | Unit | [5 empty] | Design Capacity: | [6 empty] | PPH |  |  | Unit
Specific Gravity: | [14 empty] | Conductivity:
Fluid Temperature: | [8 empty] | °F |  |  | °C |  |  | Fluid Pressure: | [6 empty] | PSIG |  |  | Unit
NEMA Classification: | [10 empty] | Electrical Available: | [7 empty] | Yes | No | 120V 60Hz |  |  |  | Other:
Design Temperature: | [8 empty] | °F |  |  | °C |  |  | Design Pressure: | [6 empty] | PSIG |  |  | Unit
Motive Medium: |  |  |  | Steam |  |  |  |  | Compressed Air | [7 empty] | Other:
Motive Pressure: | [11 empty] | PSIG |  |  |  |  | Unit
Motive Temperature: | [8 empty] | °F |  |  | °C
Installation Location: |  |  |  |  | Indoor | [6 empty] | Outdoor
Environmental Concerns:
SPD Type 1 (pump) Inlet Piping | [17 empty] | SPD Type 1 (pump) Outlet Piping
Pipe Diameter: | [5 empty] | Inch |  |  | Unit | [8 empty] | Pipe Diameter: |  |  |  |  | Inch |  |  | Unit
Pipe Length: | [5 empty] | Inch |  |  | Unit | [8 empty] | Pipe Length: |  |  |  |  | Inch |  |  | Unit
Height from Grade: | [5 empty] | Inch |  |  | Unit | [8 empty] | Height from Grade: |  |  |  |  | Inch |  |  | Unit
[18 empty] | Return Line Pressure: | [6 empty] | Inch |  |  | Unit
[18 empty] | Temperature: | [5 empty] | °F |  |  | °C
Mechanical Details SPD Type 1 (Pump)
Level Control: |  |  |  | 1 Float (non-electric) | [9 empty] | Conductance (electric) | [7 empty] | Vendor Choice
Number of Pumps: | [9 empty] | Operating: | [10 empty] | Stand-by/Spare:
Design Codes: |  |  | ASME Section VIII | [7 empty] | ANSI B31.1 | [6 empty] | ANSI B31.3 |  |  |  | Other:
Inlet Check Valve: |  |  | Type |  |  |  |  | Swing |  |  |  |  | Lift |  |  |  |  | Spring-Assist |  |  |  | Other:
|  |  | Connection |  |  |  |  | NPT |  |  |  | Flange Standard and Class | [9 empty] | Other:
Outlet Check Valve: |  |  | Type |  |  |  |  | Swing |  |  |  |  | Lift |  |  |  |  | Spring-Assist |  |  |  | Other:
|  |  | Connection |  |  |  |  | NPT |  |  |  | Flange Standard and Class | [9 empty] | Other:
Mechanical Details SPD Type 1 (Receiver) - see diagram on page 2
Receiver: |  | Existing | [7 empty] | New
Design Codes: |  | ASME Section VIII | [7 empty] | ANSI B31.1 | [5 empty] | ANSI B31.3 |  |  |  | Other:
Inlet Nozzle A | [5 empty] | NPT |  |  |  | Flange Standard and Class | [11 empty] | Other:
Exhaust Nozzle B | [5 empty] | NPT |  |  |  | Flange Standard and Class | [11 empty] | Other:
Inlet Nozzle C | [5 empty] | NPT |  |  |  | Flange Standard and Class | [11 empty] | Other:
Diameter D | [5 empty] | inch |  |  |  | Unit
Length E | [5 empty] | inch |  |  |  | Unit
Overflow Nozzle F | [5 empty] | NPT |  |  |  | Flange Standard and Class | [11 empty] | Other:
Mechanical Details SPD Type 1 (Accessories)
Cycle Counter: |  |  |  |  | Yes |  |  |  |  | No | [6 empty] | Drain Valve: |  |  |  |  | Yes |  |  |  | No
SPD Insulation: |  |  |  |  | Yes |  |  |  |  | No | [6 empty] | SPD Level Gauge: |  |  |  |  | Yes |  |  |  | No
Receiver Insulation: |  |  |  |  | Yes |  |  |  |  | No | [6 empty] | Receiver Level Gauge: |  |  |  |  | Yes |  |  |  | No
Inlet Strainer: |  |  |  |  | Yes |  |  |  |  | No | [6 empty] | Level Guage Type: |  |  |  | Tubular |  |  | Reflex |  |  |  | Armoured
Package: | SPD Pump(s) | [13 empty] | Add Fill Line from Receiver with Isolation Valve(s) (Only with Receiver and Base Plate or Frame)
| Add Receiver (Shipped Loose if No Base Plate or Frame Used) | [13 empty] | Add Vent Line From Pump to Receiver with Isolation Valve(s) (Only with Receiver and Base Plate of Frame)
| Add Base Plate or Frame | [13 empty] | Add Motive Line to Pumps with Steam Trap, Strainer and Isolation Valve(s) (Only with Receiver and Base
Plate or Frame)
Secondary Pressure Drainer Type 1 Data Sheet (Page 2 of 2)
Materials of Construction
SPD Pump: |  |  | Steel |  |  |  | Cast Iron |  |  |  |  | Ductile Iron
Stainless Steel, Grade
Other
SPD Receiver: |  |  | Steel |  |  |  | Cast Iron |  |  |  |  | Ductile Iron
Stainless Steel, Grade
Other
Check Valves: |  |  | Brass/Bronze
Stainless Steel, Grade
Other
Gauge Glass: |  |  | Brass/Bronze
Stainless Steel, Grade
Other
Insulation:
Additional Remarks
FCI Standards
FCI 97-1, Standard for Production Testing of Secondary Pressure Drainers
FCI 99-1, Standard for Performance Testing of Secondary Pressure Drainers
FCI 18-1, Standard for Sizing & Selection of SPD Type 1 Systems
FCI 18-2, Standard on Installation for SPD Type 1 Systems